## Notes (hidden)
Dixon's lookup table, values, and variables are from the Data Quality Assesssment: Statistical Methods for Practicioners EPA QA/G-9S (DOC 7123415)
Rosner's critical values are calculated using the method described in Rosner, B. (1983) Percentage Points for a Generalized ESB Many-Outlier Procedure, Technometrics, vol. 25, no. 2, pp. 165-172. (DOC 7123411)
Shapiro-Wilk W-Test for Non-Normality is approximated using the method described in Royston, J. P. (1992) Approximating the Shapiro-Wilk W-test for non-normality, Statistics and Computing, vol. 2, pp. 117-119. (DOC 7123409)

## Outlier Analysis
Sample Result Outlier Calculator v1.1
Company
FID | [9 empty] | X
Permit
Fiscal Year
| Significance Level |  | - |  |  |  | Significance Level |  | -
| Number of COD Samples |  | 0 | 2023 - 2024 |  |  | Number of TSS Samples |  | 0
| Number of Suspected Outliers |  | 0 | 2024 - 2025 |  |  | Number of Suspected Outliers |  | 0
2025 - 2026
Sample No. | Sample Date | COD (mg/L) | Outlier? |  |  | Sample No. | Sample Date | TSS (mg/L) | Outlier?
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
|  |  |  | 0 | 0
Comments | [5 empty] | Comments

## Normal Plots
Shapiro-Wilk Test p-value | n<3 | Remove Suspected Outlier(s)? | No | Shapiro-Wilk Test p-value | n<3 | Remove Suspected Outlier(s)? | No
Confidence Interval | 0.05 | Transform Dataset? | No | Confidence Interval | 0.05 | Transform Dataset? | No
Number of Samples | 0 |  |  | Number of Samples | 0
Data Is Normally Distributed? | n<3 |  |  | Data Is Normally Distributed? | n<3

## Detailed Instructions
GENERAL INFORMATION
To claim an outlier, the minimum required number of samples must be collected per the Surcharge Test Requirements referenced on page 2 of the “Long Form” instructions.
The minimum required number of samples does not include samples collected by the Sanitation Districts.
This outlier calculator automatically utilizes two different statistical analyses for determining if a sample result is an outlier.
For a dataset that contains between 4 and 24 sample results, the Extreme Value Test, also known as Dixon's Outlier Test, is automatically utilized.
For a dataset that contains 25 or more sample results, the Generalized Extreme Studentized Deviate Test, also known as Rosner's Outlier Test, is automatically utilized.
For a dataset that contains between 4 and 7 sample results, the significance level is automatically set to 0.01.
For a dataset that contains 8 or more sample results, the significance level is automatically set to 0.05.
Calculation sheets may be viewed by unprotecting the workbook (password: LACSD2024) and then unhiding the relevant sheet(s).
HOW TO USE
Outlier Analysis Sheet
1. Green cells denote where data may be entered into the form.
2. Enter your company name, facility identification number, permit number, and fiscal year.
3. Enter the sample date and result for your COD data into the left most columns and your TSS data into the right most columns.
3a. Sample results must be entered as positive whole numbers. For non-detect (ND) results, use 1/2 the reporting limit (RL) rounded to the nearest whole number.
4. Enter all sample result data.
5. Sample result(s) identified as a potential outlier(s) will have the word "Outlier" populated in the "Outlier?" column.
6. Once a sample(s) is identified as a potential outlier, navigate to the Normal Plots Sheet to determine if the dataset is normally distributed.
6a. Dixon's and Rosner's Outlier Tests require that the dataset be normally distributed. The oultier sample result(s) may be removed when checking for normality.
Normal Plots Sheet
1. Check that the dataset is normally distributed. At the bottom of the page the "Data is Normally Distributed?" will indicate "YES" or "NO".
2. If the dataset is already normally distributed with the suspected outlier sample result(s) included, you are done.
2a. Include a copy of the Outlier Analysis Sheet and Normal Plots Sheet with your annual surcharge statement.
2b. Include additional information regarding the suspected cause of the outlier sample result(s) and the likely period for which it represents.
3. If the dataset is not normally distributed with the suspected outlier sample result(s) included, you may remove the outlier sample result(s) to check for normality.
4. Change the "Remove Suspected Outlier(s)?" from "NO" to "YES".
4a. If the dataset is now normally distributed with the suspected outlier sample result(s) removed, you are done.
4b. Include a copy of the Outlier Analysis Sheet and Normal Plots Sheet with your annual surcharge statement.
4c. Include additional information regarding the suspected cause of the outlier sample result(s) and the likely period for which it represents.
5. If the dataset is not normally distributed with the suspected outlier sample result(s) removed, you may transform the dataset.
5a. This outlier calculator will transform the dataset by applying the natural log to each sample result.
6. Change the "Transform Dataset?" from "NO" to "YES".
7. If the dataset is now normally distributed with the "Transform Dataset?" set to "YES" and "Remove Suspected Outlier(s)?" set to "YES", you are done.
7a. Include a copy of the Outlier Analysis Sheet and Normal Plots Sheet with your annual surcharge statement.
7b. Include additional information regarding the suspected cause of the outlier sample result(s) and the likely period for which it represents.
8. If the dataset is still not normally distributed with the "Transform Dataset?" set to "YES" and "Remove Suspected Outlier(s)?" set to "YES", then Dixon's and Rosner's Outlier Tests are not appropriate for the dataset.
8a. Do not claim an outlier on your annual surcharge statement.

## Dixon Lookup Table (hidden)
Significance Level
n | 0.05 | 0.01
3 | 0.941 | 0.988
4 | 0.765 | 0.889
5 | 0.642 | 0.78
6 | 0.56 | 0.698
7 | 0.507 | 0.637
8 | 0.554 | 0.683
9 | 0.512 | 0.635
10 | 0.477 | 0.597
11 | 0.576 | 0.679
12 | 0.546 | 0.642
13 | 0.521 | 0.615
14 | 0.546 | 0.641
15 | 0.525 | 0.616
16 | 0.507 | 0.595
17 | 0.49 | 0.577
18 | 0.475 | 0.561
19 | 0.462 | 0.547
20 | 0.45 | 0.535
21 | 0.44 | 0.524
22 | 0.43 | 0.514
23 | 0.421 | 0.505
24 | 0.413 | 0.497
25 | 0.406 | 0.489

## Data Sorting (COD) (hidden)
Sample No. | COD Data | Sample No. Sorted | Sorted (Ascending) | Sorted (Descending) | Quantile Fraction | Quantile | Sample Quantiles | Quantile for Plot | Sample Quantiles for Plot | 1st Quartile | n<2 | Sample No. Sorted | COD Data (Outliers Removed) | Sorted (Ascending) | Sorted (Descending) | Quantile Fraction | Quantile | Sample Quantiles | Quantile for Plot | Sample Quantiles for Plot | 1st Quartile | n<2
|  | #NAME? | #NAME? | #NAME? | [5 empty] | 3rd Quartile | n<2 |  |  | #NAME? | #NAME? | [5 empty] | 3rd Quartile | n<2
[10 empty] | 1st Quartile Standard Normal Distribution | n<2 | [9 empty] | 1st Quartile Standard Normal Distribution | n<2
[10 empty] | 3rd Quartile Standard Normal Distribution | n<2 | [9 empty] | 3rd Quartile Standard Normal Distribution | n<2

## Dixon's Test (COD) (hidden)
The Extreme Value Test (Dixon's Test) can be used to test for statistical outliers when the dataset contains less than or equal to 25 values. This test considers both extreme values that are much smaller than the rest of the data (minimum value test statistic) and extreme values that are much larger than the rest of the data (maximum value test statistic). This test assumes that the data without the suspected outlier are normally distributed; therefore, it is necessary to perform a test for normality on the data without the suspected outlier before applying this test. If the data are not normally distributed, then either transform the data, apply a different test, or consult a statistician.
Dixon's Test is defined for the hypotheses:
H0: There are no outliers in the dataset.
HA: X(1) is an outlier.
HA: X(n) is an outlier.
|  |  | 3 < n < 7 |  | 8 < n < 10 |  | 11 < n < 13 |  | 14 < n < 25
Minimum Value Test Statistic:
|  |  | 3 < n < 7 |  | 8 < n < 10 |  | 11 < n < 13 |  | 14 < n < 25
Maximum Value Test Statistic:
Where: | X(n) | is the data ordered from smallest to largest such that X(1), X(2), . . ., X(n)
| α | is the significance level (confidence interval)
| n | is the number of samples in the data set
| dα | is the critical value
If CX(1) or CX(n) > dα then reject H0.
The current dataset has the following breakdown:
n | α | X(1) | X(2) | X(3) | X(n) | X(n-1) | X(n-2) | CX(1) | CX(n) | dα
0 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3
[8 empty] | Outlier | Outlier
[8 empty] | n<3 | n<3
𝐶_(𝑋_((1)) )=(𝑋_((2) )−𝑋_((1) ))/(𝑋_((𝑛) ) − 𝑋_((1) ) )
𝐶_(𝑋_((1)) )=(𝑋_((2) )−𝑋_((1) ))/(𝑋_((𝑛−1) ) − 𝑋_((1) ) )
𝐶_(𝑋_((1)) )=(𝑋_((3) )−𝑋_((1) ))/(𝑋_((𝑛−1) ) − 𝑋_((1) ) )
𝐶_(𝑋_((1)) )=(𝑋_((3) )−𝑋_((1) ))/(𝑋_((𝑛−2) ) − 𝑋_((1) ) )
𝐶_(𝑋_((𝑛)) )=(𝑋_((𝑛) )−𝑋_((𝑛−1) ))/(𝑋_((𝑛) ) − 𝑋_((1) ) )
𝐶_(𝑋_((𝑛)) )=(𝑋_((𝑛) )−𝑋_((𝑛−1) ))/(𝑋_((𝑛) ) − 𝑋_((2) ) )
𝐶_(𝑋_((𝑛)) )=(𝑋_((𝑛) )−𝑋_((𝑛−2) ))/(𝑋_((𝑛) ) − 𝑋_((2) ) )
𝐶_(𝑋_((𝑛)) )=(𝑋_((𝑛) )−𝑋_((𝑛−2) ))/(𝑋_((𝑛) ) − 𝑋_((3) ) )

## Rosner's Test (COD) (hidden)
Rosner's Test can be used to detect up to 10 outliers for a dataset containing 25 or more samples. This test assumes that the data without the suspected outliers are normally distributed. Therefore, it is necessary to perform a test for normality before applying this test. If the data are not normally distributed, then either transform the data, apply a different test, or consult a statistician.
Rosner's Test is defined for the hypotheses:
H0: There are no outliers in the dataset.
HA: There are as many as r0 outliers in the dataset.
COMPUTATIONS: Using the entire dataset, compute the sample mean, x̅(0), and the sample standard deviation, s(0). Determine the observation farthest from x̅(0) and label it y(0). Delete y(0) from the dataset and compute the sample mean, x̅(1), and the sample standard deviation, s(1). Now determine the observation farthest from x̅(1) and label it y(1). Delete y(1) from the dataset and compute the sample mean, x̅(2), and the sample standard deviation, s(2). Continue this process until r0 extreme values have been eliminated.
Test Statistic:
Where: | y | is the observation farthest from x̅
| x̅ | is the mean of the dataset
| s | is the standard deviation of the dataset
| r0 | is the number of suspected outliers in the dataset
| α | is the significance level (confidence interval)
| n | is the number of samples in the dataset
| λr | is the critical value
If Rr0> λr then reject H0.
Although this procedure has good power against a variety of outlier alternatives, the procedure requires a table of estimated percentiles (critical values, λr) for R1, . . . , R, for each combination of sample size (n) and maximum number of outliers (r0). These percentiles must be estimated from Monte Carlo simulations for each (n, r0) (Rosner 1975; Prescott 1979). The unavailability of these percentiles for a wide variety of (n, r0) combinations has hindered the usefulness of the procedure, particularly for large n. In Percentage Points for a Generalized ESB Many-Outlier Procedure (Rosner, 1983), an approximation of the estimated percentiles (critical values, λr) for R is calculated rather than referenced to a table of values. For more information on the method employed here refer to Rosner, B. (1983) Percentage Points for a Generalized ESB Many-Outlier Procedure, Technometrics, vol. 25, no. 2, pp. 165-172. (DOC 7123411)
Approximation of the critical value is defined as follows:
Where: | λr | is the calculated critical value
| l | is the number of suspected outliers in the dataset minus 1
| p | is the probability of an outlier and is expressed as:
| tn-l-2,p | is the quantiles of the t distribution for a given degrees of freedom and probability and is expressed as:
The current dataset has the following breakdown:
n | α | r0 |  |  |  | l | x̅(i) | s(i) | y(i) | p | tn-l-2,p | Rr0 | λr | Outlier?
0 | n<25 | n<25 |  |  |  | 0 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
[6 empty] | 1 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
[6 empty] | 2 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
[6 empty] | 3 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
[6 empty] | 4 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
[6 empty] | 5 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
[6 empty] | 6 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
[6 empty] | 7 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
[6 empty] | 8 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
[6 empty] | 9 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10
Sample No. Sorted | Sorted (Ascending) | Sample No. Sorted | Sorted (Ascending) | Sample No. Sorted | Sorted (Ascending) | Sample No. Sorted | Sorted (Ascending) | Sample No. Sorted | Sorted (Ascending) | Sample No. Sorted | Sorted (Ascending) | Sample No. Sorted | Sorted (Ascending) | Sample No. Sorted | Sorted (Ascending) | Sample No. Sorted | Sorted (Ascending) | Sample No. Sorted | Sorted (Ascending) | Sample No. Sorted | Sorted (Ascending)
n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
𝑅_(𝑟_0 )=|𝑦^((𝑟_0−1))−𝑥 ̅^((𝑟_0−1)) |/𝑠^((𝑟_0−1))
𝜆_𝑟= (𝑡_(𝑛−𝑙−2,𝑝)×(𝑛−𝑙−1))/√((𝑛−𝑙−2+𝑡_(𝑛−𝑙−2,𝑝)^2)×(𝑛−1))
𝑡_(𝑛−𝑙−2,𝑝)=𝑇.𝐼𝑁𝑉(𝑝,𝑛−𝑙−2)
𝑝=1−[((𝛼/2))/((𝑛−𝑙) )]

## Shapiro-Wilk Test (COD) (hidden)
The Shapiro-Wilk Test is a test of normality. This test is similar to computing a correlation between the quantiles of the standard normal distribution and the ordered values of a data set. If the normal probability plot is approximately linear (i.e., the data follow a normal curve), the test statistic will be relatively high. If the normal probability plot is non-linear, then the test statistic will be relatively low.
The Shapiro-Wilk Test is defined for the hypotheses:
H0: The dataset is normally distributed.
HA: The dataset is not normally distributed.
Test Statistic:
Where: | x(i) | is the ith order statistic (i.e., the ith data value after the data set is arranged from smallest to largest)
| i | is the index number of a specific sample in the dataset when ordered from smallest to largest (e.g., x(1) is the first and smallest value in the data set)
| x̅ | is the mean of the dataset
| n | is the number of samples in the dataset
| ai | is the coefficient vector of the weights obtained from the approximation of the Shapiro-Wilk Test statistic
| α | is the significance level (confidence interval)
| p-value | is the test against the α to determine if the dataset is normally distributed
If p-value < α then reject H0.
Shapiro and Wilk's (1965) W-test is a well-established and powerful test of departure from normality. Royston (1982a) extended the test from the original sample size of n = 50 to n = 2000. The extension was based on Shapiro and Wilk's own suggested approximation to the coefficients used in the calculation of W, but no evaluation was made of its accuracy. Unfortunately, the use of exact rather than approximate coefficients requires matrix manipulations which are both computationally demanding and memory-hungry. In Approximating the Shapiro-Wilk W-test for non-normality (Royston 1992), a new approximation to the coefficients is produced which is simple, convenient and satisfactory for any sample size. A normalizing transformation of the W statistic is provided to enable simple calculation of the p-value of the test for 3 < n < 2000 and is used in this spreadsheet instead of Shapiro and Wilk's original W-test. For more information on the method employed here refer to Royston, J. P. (1992) Approximating the Shapiro-Wilk W-test for non-normality, Statistics and Computing, vol. 2, pp. 117-119. (DOC 7123409)
Approximation of the Shapiro-Wilk W-test is defined as follows:
Where: | n | is the number of samples in the dataset
| ai | is the approximation of the ai factor in the original Shapiro-Wilk W-Test statistic and is expressed as:
| ci | is the inverse normal cumulative distribution function and is expressed in Excel as:
| x | is the coefficient variable used to approximate the polynomial expansion of ai and is expressed as:
| ϵ | is the normalization of ai and is expressed as:
The current dataset has the following breakdown:
n | α | x̅ | (x(i)-x̅)2 Sum | aix(i) Sum2 | ai | ai-1 | ci | ci-1 | ci Sum | x | ϵ | W |  |  | Denominator |  | Numerator
0 | 0.05 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3 | i | x(i) | (x(i)-x̅)2 | ai | aix(i) | ci
For n = 3
| p-value | is the cumulative distribution function (cdf) of W and is expressed as:
[5 empty] | p-value | Normal Distribution?
[5 empty] | n≠3 | n≠3
For 4 < n < 11
| γ | is the lognormal transformation of n and is expressed as:
| w | is the transformed Shapiro-Wilk W-Test Statistic and is expressed as:
| µ | is the mean of the transformed W and is expressed as:
| σ | is the standard deviation of the transformed W and is expressed as:
| z | is the new test statistic and is expressed as:
| p-value | is the standard normal distribution of z
γ | w | µ | σ | z | p-value | Normal Distribution?
n<4 | n<4 | n<4 | n<4 | n<4 | n<4 | n<4
For 12 < n < 2000
| x | is the lognormal transformation of n and is expressed as:
| w | is the transformed Shapiro-Wilk W-Test Statistic and is expressed as:
| µ | is the mean of the transformed W and is expressed as:
| σ | is the standard deviation of the transformed W and is expressed as:
| z | is the new test statistic and is expressed as:
| p-value | is the standard normal distribution of z
x | µ | σ | w | z | p-value | Normal Distribution?
n<12 | n<12 | n<12 | n<12 | n<12 | n<12 | n<12
𝑊=(∑_(𝑖=1)^𝑛▒〖𝑎_𝑖 𝑥_((𝑖)) 〗)^2/(∑_(𝑖=1)^𝑛▒(𝑥_((𝑖))−𝑥 ̅ )^2 )
1/√𝑛
𝑎_𝑖=𝑐_𝑖+0.221157𝑥−0.147981𝑥^2−2.071190𝑥^3+4.434685𝑥^4−2.706056𝑥^5
𝑎_(𝑖−1)=𝑐_(𝑖−1)+0.042981𝑥−0.293762𝑥^2−1.752461𝑥^3+5.682633𝑥^4−3.582663𝑥^5
〖 𝑎〗_𝑖=𝑐_𝑖/√𝜖, 𝑓𝑜𝑟 2<𝑖<𝑛−1 𝑎𝑛𝑑 𝑎_𝑖=−𝑎_𝑛 for i=1 and 𝑎_𝑖=−𝑎_(𝑛−1) for i=2
〖 𝑐〗_𝑖=𝑁𝑂𝑅𝑀.𝑆.𝐼𝑁𝑉((𝑖−0.375)/(𝑛+0.25))
𝜖=(∑2_(𝑖=1)^𝑛▒〖𝑐_𝑖−2𝑐_𝑛^2−2𝑐_(𝑛−1)^2 〗)/(1−2𝑎_𝑛^2−2𝑎_(𝑛−2)^2 )
𝑤=−ln⁡[𝛾−𝑙𝑛(1−𝑊)]
𝛾=−2.273+0.459𝑛
µ=0.5440 −0.39978𝑛+0.025054𝑛^2−0.0006714𝑛^3
𝜎=𝑒^((1.3822 −0.77857𝑛+0.062767𝑛^2−0.0020322𝑛^3 ) )
𝑧=((𝑤−µ))/𝜎
𝑤=ln(1−𝑊)
𝑥=𝑙𝑛(𝑛)
𝜎=𝑒^((−0.4803 −0.082676𝑥+0.0030302𝑥^2 ) )
µ=−1.5861 −0.31082𝑥−0.083751𝑥^2+0.0038915𝑥^3
𝑧=((𝑤−µ))/𝜎
𝑝−𝑣𝑎𝑙𝑢𝑒=6/𝜋× {(sin^(−1)⁡〖𝑊^0.5 〗 ) − (sin^(−1)⁡〖〖0.75〗^0.5 〗 )}
𝑝−𝑣𝑎𝑙𝑢𝑒=1 −𝑁𝑂𝑅𝑀.𝑆.𝐷𝐼𝑆𝑇(𝑧)
𝑝−𝑣𝑎𝑙𝑢𝑒=1 −𝑁𝑂𝑅𝑀.𝑆.𝐷𝐼𝑆𝑇(𝑧)

## Data Sorting (TSS) (hidden)
Sample No. | TSS Data | Sample No. Sorted | Sorted (Ascending) | Sorted (Descending) | Quantile Fraction | Quantile | Sample Quantiles | Quantile for Plot | Sample Quantiles for Plot | 1st Quartile | n<2 | Sample No. Sorted | TSS Data (Outliers Removed) | Sorted (Ascending) | Sorted (Descending) | Quantile Fraction | Quantile | Sample Quantiles | Quantile for Plot | Sample Quantiles for Plot | 1st Quartile | n<2
|  | #NAME? | #NAME? | #NAME? | [5 empty] | 3rd Quartile | n<2 |  |  | #NAME? | #NAME? | [5 empty] | 3rd Quartile | n<2
[10 empty] | 1st Quartile Standard Normal Distribution | n<2 | [9 empty] | 1st Quartile Standard Normal Distribution | n<2
[10 empty] | 3rd Quartile Standard Normal Distribution | n<2 | [9 empty] | 3rd Quartile Standard Normal Distribution | n<2

## Dixon's Test (TSS) (hidden)
The Extreme Value Test (Dixon's Test) can be used to test for statistical outliers when the dataset contains less than or equal to 25 values. This test considers both extreme values that are much smaller than the rest of the data (minimum value test statistic) and extreme values that are much larger than the rest of the data (maximum value test statistic). This test assumes that the data without the suspected outlier are normally distributed; therefore, it is necessary to perform a test for normality on the data without the suspected outlier before applying this test. If the data are not normally distributed, then either transform the data, apply a different test, or consult a statistician.
Dixon's Test is defined for the hypotheses:
H0: There are no outliers in the dataset.
HA: X(1) is an outlier.
HA: X(n) is an outlier.
|  |  | 3 < n < 7 |  | 8 < n < 10 |  | 11 < n < 13 |  | 14 < n < 25
Minimum Value Test Statistic:
|  |  | 3 < n < 7 |  | 8 < n < 10 |  | 11 < n < 13 |  | 14 < n < 25
Maximum Value Test Statistic:
Where: | X(n) | is the dataset ordered from smallest to largest such that X(1), X(2), . . ., X(n)
| α | is the significance level (confidence interval)
| n | is the number of samples in the dataset
| dα | is the critical value
If CX(1) or CX(n) > dα then reject H0.
The current dataset has the following breakdown:
n | α | X(1) | X(2) | X(3) | X(n) | X(n-1) | X(n-2) | CX(1) | CX(n) | dα
0 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3
[8 empty] | Outlier | Outlier
[8 empty] | n<3 | n<3
𝐶_(𝑋_((1)) )=(𝑋_((2) )−𝑋_((1) ))/(𝑋_((𝑛) ) − 𝑋_((1) ) )
𝐶_(𝑋_((1)) )=(𝑋_((2) )−𝑋_((1) ))/(𝑋_((𝑛−1) ) − 𝑋_((1) ) )
𝐶_(𝑋_((1)) )=(𝑋_((3) )−𝑋_((1) ))/(𝑋_((𝑛−1) ) − 𝑋_((1) ) )
𝐶_(𝑋_((1)) )=(𝑋_((3) )−𝑋_((1) ))/(𝑋_((𝑛−2) ) − 𝑋_((1) ) )
𝐶_(𝑋_((𝑛)) )=(𝑋_((𝑛) )−𝑋_((𝑛−1) ))/(𝑋_((𝑛) ) − 𝑋_((1) ) )
𝐶_(𝑋_((𝑛)) )=(𝑋_((𝑛) )−𝑋_((𝑛−1) ))/(𝑋_((𝑛) ) − 𝑋_((2) ) )
𝐶_(𝑋_((𝑛)) )=(𝑋_((𝑛) )−𝑋_((𝑛−2) ))/(𝑋_((𝑛) ) − 𝑋_((2) ) )
𝐶_(𝑋_((𝑛)) )=(𝑋_((𝑛) )−𝑋_((𝑛−2) ))/(𝑋_((𝑛) ) − 𝑋_((3) ) )

## Rosner's Test (TSS) (hidden)
Rosner's Test can be used to detect up to 10 outliers for a dataset containing 25 or more samples. This test assumes that the data without the suspected outliers are normally distributed. Therefore, it is necessary to perform a test for normality before applying this test. If the data are not normally distributed, then either transform the data, apply a different test, or consult a statistician.
Rosner's Test is defined for the hypotheses:
H0: There are no outliers in the dataset.
HA: There are as many as r0 outliers in the dataset.
COMPUTATIONS: Using the entire dataset, compute the sample mean, x̅(0), and the sample standard deviation, s(0). Determine the observation farthest from x̅(0) and label it y(0). Delete y(0) from the dataset and compute the sample mean, x̅(1), and the sample standard deviation, s(1). Now determine the observation farthest from x̅(1) and label it y(1). Delete y(1) from the dataset and compute the sample mean, x̅(2), and the sample standard deviation, s(2). Continue this process until r0 extreme values have been eliminated.
Test Statistic:
Where: | y | is the observation farthest from x̅
| x̅ | is the mean of the dataset
| s | is the standard deviation of the dataset
| r0 | is the number of suspected outliers in the dataset
| α | is the significance level (confidence interval)
| n | is the number of samples in the dataset
| λr | is the critical value
If Rr0> λr then reject H0.
Although this procedure has good power against a variety of outlier alternatives, the procedure requires a table of estimated percentiles (critical values, λr) for R1, . . . , R, for each combination of sample size (n) and maximum number of outliers (r0). These percentiles must be estimated from Monte Carlo simulations for each (n, r0) (Rosner 1975; Prescott 1979). The unavailability of these percentiles for a wide variety of (n, r0) combinations has hindered the usefulness of the procedure, particularly for large n. In Percentage Points for a Generalized ESB Many-Outlier Procedure (Rosner, 1983), an approximation of the estimated percentiles (critical values, λr) for R is calculated rather than referenced to a table of values. For more information on the method employed here refer to Rosner, B. (1983) Percentage Points for a Generalized ESB Many-Outlier Procedure, Technometrics, vol. 25, no. 2, pp. 165-172. (DOC 7123411)
Approximation of the critical value is defined as follows:
Where: | λr | is the calculated critical value
| l | is the number of suspected outliers in the dataset minus 1
| p | is the probability of an outlier and is expressed as:
| tn-l-2,p | is the quantiles of the t distribution for a given probability and degrees of freedom and is expressed as:
The current dataset has the following breakdown:
n | α | r0 |  |  |  | l | x̅(i) | s(i) | y(i) | p | tn-l-2,p | Rr0 | λr | Outlier?
0 | n<25 | n<25 |  |  |  | 0 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
[6 empty] | 1 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
[6 empty] | 2 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
[6 empty] | 3 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
[6 empty] | 4 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
[6 empty] | 5 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
[6 empty] | 6 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
[6 empty] | 7 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
[6 empty] | 8 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
[6 empty] | 9 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
0 |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10
Sample No. Sorted | Sorted (Ascending) | Sample No. Sorted | Sorted (Ascending) | Sample No. Sorted | Sorted (Ascending) | Sample No. Sorted | Sorted (Ascending) | Sample No. Sorted | Sorted (Ascending) | Sample No. Sorted | Sorted (Ascending) | Sample No. Sorted | Sorted (Ascending) | Sample No. Sorted | Sorted (Ascending) | Sample No. Sorted | Sorted (Ascending) | Sample No. Sorted | Sorted (Ascending) | Sample No. Sorted | Sorted (Ascending)
n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25 | n<25
𝑅_(𝑟_0 )=|𝑦^((𝑟_0−1))−𝑥 ̅^((𝑟_0−1)) |/𝑠^((𝑟_0−1))
𝜆_𝑟= (𝑡_(𝑛−𝑙−2,𝑝)×(𝑛−𝑙−1))/√((𝑛−𝑙−2+𝑡_(𝑛−𝑙−2,𝑝)^2)×(𝑛−1))
𝑡_(𝑛−𝑙−2,𝑝)=𝑇.𝐼𝑁𝑉(𝑝,𝑛−𝑙−2)
𝑝=1−[((𝛼/2))/((𝑛−𝑙) )]

## Shapiro-Wilk Test (TSS) (hidden)
The Shapiro-Wilk Test is a test of normality. This test is similar to computing a correlation between the quantiles of the standard normal distribution and the ordered values of a data set. If the normal probability plot is approximately linear (i.e., the data follow a normal curve), the test statistic will be relatively high. If the normal probability plot is non-linear, then the test statistic will be relatively low.
The Shapiro-Wilk Test is defined for the hypotheses:
H0: The dataset is normally distributed.
HA: The dataset is not normally distributed.
Test Statistic:
Where: | x(i) | is the ith order statistic (i.e., the ith data value after the data set is arranged from smallest to largest)
| i | is the index number of a specific sample in the dataset when ordered from smallest to largest (e.g., x(1) is the first and smallest value in the data set)
| x̅ | is the mean of the dataset
| n | is the number of samples in the dataset
| ai | is the coefficient vector of the weights obtained from the approximation of the Shapiro-Wilk Test statistic
| α | is the significance level (confidence interval)
| p-value | is the test against the α to determine if the dataset is normally distributed
If p-value < α then reject H0.
Shapiro and Wilk's (1965) W-test is a well-established and powerful test of departure from normality. Royston (1982a) extended the test from the original sample size of n = 50 to n = 2000. The extension was based on Shapiro and Wilk's own suggested approximation to the coefficients used in the calculation of W, but no evaluation was made of its accuracy. Unfortunately, the use of exact rather than approximate coefficients requires matrix manipulations which are both computationally demanding and memory-hungry. In Approximating the Shapiro-Wilk W-test for non-normality (Royston 1992), a new approximation to the coefficients is produced which is simple, convenient and satisfactory for any sample size. A normalizing transformation of the W statistic is provided to enable simple calculation of the p-value of the test for 3 < n < 2000 and is used in this spreadsheet instead of Shapiro and Wilk's original W-test. For more information on the method employed here refer to Royston, J. P. (1992) Approximating the Shapiro-Wilk W-test for non-normality, Statistics and Computing, vol. 2, pp. 117-119. (DOC 7123409)
Approximation of the Shapiro-Wilk W-test is defined as follows:
Where: | n | is the number of samples in the dataset
| ai | is the approximation of the ai factor in the original Shapiro-Wilk W-Test statistic and is expressed as:
| ci | is the inverse normal cumulative distribution function and is expressed in Excel as:
| x | is the coefficient variable used to approximate the polynomial expansion of ai and is expressed as:
| ϵ | is the normalization of ai and is expressed as:
The current dataset has the following breakdown:
n | α | x̅ | (x(i)-x̅)2 Sum | aix(i) Sum2 | ai | ai-1 | ci | ci-1 | ci Sum | x | ϵ | W |  |  | Denominator |  | Numerator
0 | 0.05 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3 | n<3 | i | x̅(i) | (x(i)-x̅)2 | ai | aix(i) | ci
For n = 3
| p-value | is the cumulative distribution function (cdf) of W and is expressed as:
[5 empty] | p-value | Normal Distribution?
[5 empty] | n≠3 | n≠3
For 4 < n < 11
| γ | is the lognormal transformation of n and is expressed as:
| w | is the transformed Shapiro-Wilk W-Test Statistic and is expressed as:
| µ | is the mean of the transformed W and is expressed as:
| σ | is the standard deviation of the transformed W and is expressed as:
| z | is the new test statistic and is expressed as:
| p-value | is the standard normal distribution of z
γ | w | µ | σ | z | p-value | Normal Distribution?
n<4 | n<4 | n<4 | n<4 | n<4 | n<4 | n<4
For 12 < n < 2000
| x | is the lognormal transformation of n and is expressed as:
| w | is the transformed Shapiro-Wilk W-Test Statistic and is expressed as:
| µ | is the mean of the transformed W and is expressed as:
| σ | is the standard deviation of the transformed W and is expressed as:
| z | is the new test statistic and is expressed as:
| p-value | is the standard normal distribution of z
x | µ | σ | w | z | p-value | Normal Distribution?
n<12 | n<12 | n<12 | n<12 | n<12 | n<12 | n<12
𝑊=(∑_(𝑖=1)^𝑛▒〖𝑎_𝑖 𝑥_((𝑖)) 〗)^2/(∑_(𝑖=1)^𝑛▒(𝑥_((𝑖))−𝑥 ̅ )^2 )
1/√𝑛
𝑎_𝑖=𝑐_𝑖+0.221157𝑥−0.147981𝑥^2−2.071190𝑥^3+4.434685𝑥^4−2.706056𝑥^5
𝑎_(𝑖−1)=𝑐_(𝑖−1)+0.042981𝑥−0.293762𝑥^2−1.752461𝑥^3+5.682633𝑥^4−3.582663𝑥^5
〖 𝑎〗_𝑖=𝑐_𝑖/√𝜖, 𝑓𝑜𝑟 2<𝑖<𝑛−1 𝑎𝑛𝑑 𝑎_𝑖=−𝑎_𝑛 for i=1 and 𝑎_𝑖=−𝑎_(𝑛−1) for i=2
〖 𝑐〗_𝑖=𝑁𝑂𝑅𝑀.𝑆.𝐼𝑁𝑉((𝑖−0.375)/(𝑛+0.25))
𝜖=(∑2_(𝑖=1)^𝑛▒〖𝑐_𝑖−2𝑐_𝑛^2−2𝑐_(𝑛−1)^2 〗)/(1−2𝑎_𝑛^2−2𝑎_(𝑛−2)^2 )
𝑤=−ln⁡[𝛾−𝑙𝑛(1−𝑊)]
𝛾=−2.273+0.459𝑛
µ=0.5440 −0.39978𝑛+0.025054𝑛^2−0.0006714𝑛^3
𝜎=𝑒^((1.3822 −0.77857𝑛+0.062767𝑛^2−0.0020322𝑛^3 ) )
𝑧=((𝑤−µ))/𝜎
𝑤=ln(1−𝑊)
𝑥=𝑙𝑛(𝑛)
𝜎=𝑒^((−0.4803 −0.082676𝑥+0.0030302𝑥^2 ) )
µ=−1.5861 −0.31082𝑥−0.083751𝑥^2+0.0038915𝑥^3
𝑧=((𝑤−µ))/𝜎
𝑝−𝑣𝑎𝑙𝑢𝑒=6/𝜋× {(sin^(−1)⁡〖𝑊^0.5 〗 ) − (sin^(−1)⁡〖〖0.75〗^0.5 〗 )}
𝑝−𝑣𝑎𝑙𝑢𝑒=1 −𝑁𝑂𝑅𝑀.𝑆.𝐷𝐼𝑆𝑇(𝑧)
𝑝−𝑣𝑎𝑙𝑢𝑒=1 −𝑁𝑂𝑅𝑀.𝑆.𝐷𝐼𝑆𝑇(𝑧)