##### WASTESTREAM AND PRODUCTION INFORMATION

Preliminary evaluation indicates that your facility is subject to production-based federal pretreatment standards.  In accordance with 40 CFR 403.6(c), federal effluent limitations for such wastewater discharges need to be calculated based upon the following information.  For those facilities subject to more than one set of pretreatment standards, the combined wastestream formula [40 CFR 403.6(e)] will be used to calculate these limitations.

Required Attachments:

- Wastewater flow schematic that includes wastestreams, flow rates with justification (copies of water bills and supporting calculations), treatment units and sampling locations;

- Parts flow diagram that includes multiple passes through a single process; and

- Copies of actual company production records.

Wastestream and production rates must be based on a reasonable estimate of long-term average.  This is usually the average over the last calendar year, fiscal year, or twelve months.

- Company Name:

Situs Address:

Sanitation Districts’ Industrial Wastewater Discharge Permit No:

- Wastestream Information:

  - List separately all wastestreams discharging to this permitted outfall which are covered by EPA categorical regulations.  Include the basis material of the part of any preliminary on-site parts processing such as forming or casting operations.

| Description of EPA Regulated Wastewater Flows | Average Daily Flow (gallons/day) |
| --- | --- |

  - Separately list all dilution streams.  These streams include non-contact cooling water and boiler blowdown; deionizer backwash and reverse osmosis reject water from incoming water supply treatment; wastestreams listed in 40 CFR 403, Appendix D; and sanitary wastes.  Wastestreams, including sanitary wastes, that do not discharge through the legal sampling point should not be listed.

| Description of Dilution Flows | Average Daily Flow (gallons/day) |
| --- | --- |

  - List separately all unregulated streams.  These are all wastestreams that  are not covered by EPA categorical regulations and are not considered dilution flows; that is, all other wastestreams not listed in Parts IIa and IIb.

| Description of Unregulated Flows | Average Daily Flow (gallons/day) |
| --- | --- |

- Production Information:

Production data are required for all wastestreams subject to the Aluminum Forming (40 CFR 467), Coil Coating (40 CFR 465), Coil Coating – Can Making (40 CFR 465), Copper Forming (40 CFR 468)Error: Reference source not found, Iron and Steel Manufacturing (40 CFR 420) Error: Reference source not found, Metal Molding and Casting (40 CFR 464Error: Reference source not found, Nonferrous Metals Manufacturing (40 CFR 421) Error: Reference source not found Nonferrous Metal Forming (40 CFR 471) Error: Reference source not found and Porcelain Enameling (40 CFR 466)Error: Reference source not found Point Source Category regulations.

| Description of Production Operations Associated with Regulated Wastestreams | Average Daily Output (see footnote 1, 2 or 3) |
| --- | --- |

- Certification

I certify, under penalty of perjury, that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

Date:

Signature of authorized company official:

Print name of official:

Title of authorized company official:

Units of production (average daily output) = number of pounds/day

Units of production (average daily output) = number of sq. ft./day

Units of production (average daily output) = number cans/day